# PEL InverterOn AERO Extend — Detailed Product Document

## Overview

The PEL InverterOn AERO Extend is a Heat & Cool inverter split air conditioner designed for high energy-efficiency and performance. It runs on Pakistan’s 220–240V 50Hz system and uses R32 eco-friendly refrigerant.

## Available Capacities

• 1 Ton (12k)

• 1.5 Ton (18k)

## Key Features

• Inverter Technology — variable speed compressor

• Heat & Cool Function

• R32 Refrigerant — eco-friendly

• Low noise indoor unit

• High airflow & stable outdoor unit

## Technical Specifications — 1 Ton (12k)

Cooling Capacity (rated): 1140 W (Range: 270 ~ 1260 W)

Cooling Current (Range): 1.85 ~ 5.52 A

Rated Current: 9.0 A

Heating Capacity (rated): 980 W (Range: 450 ~ 1100 W)

Rated Power Input: 1800 W

EER: 3.21

Airflow (Indoor): 600 m³/h

Noise (Outdoor): 55 dB(A)

Indoor Unit Weight: 8 kg

Outdoor Unit Weight: 23.1 kg

Indoor Dimensions: 805 × 194 × 285 mm

Outdoor Dimensions: 765 × 303 × 555 mm

## Technical Specifications — 1.5 Ton (18k)

Cooling Capacity (rated): 1640 W (Range: 550 ~ 1960 W)

Cooling Current (Range): 3.80 ~ 8.60 A

Rated Current: 14 A

Heating Capacity (rated): 1500 W (Range: 500 ~ 1585 W)

Rated Power Input: 2650 W

EER: 3.22

Airflow (Indoor): 840 m³/h

Noise (Outdoor): 56 dB(A)

Indoor Unit Weight: 10 kg

Outdoor Unit Weight: 27.4 kg

Indoor Dimensions: 957 × 213 × 302 mm

Outdoor Dimensions: 765 × 303 × 555 mm

## Package Contents

• Indoor Unit

• Outdoor Unit

• Remote Control

• User Manual

• Installation Kit

## Warranty

• Compressor: 10 Years

• PCB: 5 Years

• Parts: 1 Year

## Safety & Installation Notes

• Proper wiring according to rated current

• Stable mounting for indoor & outdoor units

• Maintain airflow clearance

• Installation should be done by certified technicians